| Technology Class | Assumed Life (yr) | Source |
| --- | --- | --- |
| Hydropower | 100 | ATB |
| Pumped Storage Hydropower | 100 | ATB |
| Land-Based Wind | 30 | ATB |
| Utility-Scale Solar PV | 30 | ATB |
| Utility-Scale Battery Storage | 15 | ATB |
| Utility-Scale PV Plus Battery Hybrid | 30 | ATB |
| Geothermal | 30 | ATB |
| Small Modular Reactor | 60 | ATB |
| Gas CC | 45 | Form 1 |
| Natural Gas CT | 30 | EIA AEO |
| Other Natural Gas | 30 | EIA AEO |

Except for the Cabin Creek Pumped Hydro facility which reports costs to FERC and whose O&M modeling assumptions were derived using the previously described procedure.

Implied based on reported storage duration and net head values.